## H2-DYNAMIC_LFS
|  |  |  | HIDE THIS COLUMN | HIDE THIS COLUMN | HIDE THIS COLUMN | HIDE THIS COLUMN
LIGHTING FIXTURE SCHEDULE
| www.jsassociates.com | [6 empty] | FOR QUOTATIONS CONTACT JS & ASSOCIATES AT 951.340.2475 OR EMAIL: QUOTES@JSASSOCIATES.COM
| TYPE | BY | MFR / VENDOR | LOCATION | PROTOTYPE MFR/MODEL # | JSA MFR/MODEL # | JSA SPEC CUTSHEET | JSA CATALOG # | DESCRIPTION |  | MOUNTING | WATTS | LUMENS | KELVIN | VOLTS | DIM | FINISH | EM | NOTES
EXTERIOR LIGHTING
POLES | SA | EC | JSA | PARKING LOT POLE LIGHT (1-HEAD) | LITHONIA #DSX1-LED-P5-30K-70CRI-T5M | KW POLE, NATURALED HEAD (2-HEAD 180), T5 |  | PL-4S-25-BZ / JPL-21163-30-UNV-BR | 25 | PARKING LOT POLE LIGHT | POLE | 150.0W | 21163 | 30 | UNV | 0-10V | BRONZE | - | PROVIDE HOUSE SHIELD, T3
| SB | EC | JSA | PARKING LOT POLE LIGHT (2-HEAD, 180) | LITHONIA #DSX1-LED-P5-30K-70CRI-T5M | KW POLE, NATURALED HEAD (2-HEAD 180), T5 |  | PL-4S-25-BZ / JPL-42326-30-UNV-BR | 25 | PARKING LOT POLE LIGHT | POLE | 300 | 42326 | 30 | UNV | 0-10V | BRONZE | - | PROVIDE HOUSE SHIELD, T3
TBD | P03 | EC | JSA | PEDESTRIAN POLE | STREETWORKS #GLAN-SA1C-830-U-T2 |  |  | SW-SA1C-830-U-T2 | PEDESTRIAN POLE |  | GROUND | 57 | 7200 | 30 | UNV | 0-10V | BRONZE | -
| B01 | EC | JSA | 42" BOLLARD LIGHT | INVUE #ABB-B1-LED-42-D1-A-GM |  |  | BLD-42-D1-GM | 42" BOLLARD LIGHT |  | GROUND | 11 | 500 | 30 | UNV | 0-10V | BRONZE | -
WALL | S03 | EC | JSA | EXTERIOR WALL SCONCE REAR ENTRY & POOL | INVUE #ENC-SA1C-830-U-T2-BK |  |  | WP-UNV-BZ | WALLPACK |  | WALL | 18.0W | 1600 | 40 | UNV | - | BRONZE | - | WET LISTED
| S22 | EC | JSA | POOL AREA | HALO #RL56LS9FSD2W1EWH |  |  | R4-ICAT-120-PH / JR4-1250-30-120-WH | 4 | RECESSED DOWNLIGHT | RECESSED | 16.0W | 1250 | 30 | 120 | PHASE | WHITE | - | WET LISTED
| WS10 | EC | JSA | WALL SCONCE INTERIOR POOL | FAIL SAFE #FW-LD2-99-1250-30-UNV-CP-R4-EDD1-W |  |  | WS-10-30-UNV | WALPACK |  | WALL | 14 | 1200 | 30 | UNV | 0-10V | WHITE | - | WET LISTED
| G01 | EC | JSA | EXTERIOR STRING LIGHT (24" SPACING) | TCP #FST19D4027E26SCL95 OR TCP #FST1954027E26SFR95 |  |  | STR-100 | BISTRO LIGHT |  | SUSPENDED | 5 | 250 | 27 | 120 | PHASE | BLACK | - | WET LISTED
| G02 | EC | JSA | TAPE LIGHT @VERTICAL RECESS | 7W/FT, 4000K, WET LOCATION, 24VDCM W/LENS |  |  | TL-24VDC-7W-LF-40 | OUTDOOR TAPE LIGHT |  | CHANNEL | 2.5 | 250 | 30 | 24 | 0-10V | - | - | WET LISTED
| G03 | EC | JSA | TAPE LIGHT @BEACON, COPING, TRELLIS | 7W/FT, 4000K, WET LOCATION, 24VDCM W/LENS |  |  | TL-24VDC-7W-LF-40 | OUTDOOR TAPE LIGHT |  | CHANNEL | 2.5 | 250 | 30 | 24 | 0-10V | - | - | WET LISTED
| R02 | EC | JSA | EXTERIOR PORTE COCHERE (BLACK) | PORTFOLIO #LDA2B108030 | ELCO |  | R4-ICAT-120-PH / JR4-1500-30-120-BK | 4 | RECESSED DOWNLIGHT | RECESSED | 18.0W | 1500 | 30 | 120 | PHASE | BLACK | - | WET LISTED
RECESSED | R20 | EC | JSA | POOL AREA SOFFITS | PORTFOLIO #LDA2B108030 | ELCO |  | R4-ICAT-120-PH / JR4-1500-30-120-WH | 4 | RECESSED DOWNLIGHT | RECESSED | 18.0W | 1500 | 30 | 120 | PHASE | WHITE | - | WET LISTED
GENERAL LIGHTING
RECESSED | R01 | EC | JSA | PUBLIC AREAS (2" DOWNLIGHT) | PORTFOLIO #LDA2B108030 | ELCO |  | R2-ICAT-120-PH / JR2-840-30-120-WH | 2 | RECESSED DOWNLIGHT | RECESSED | 9 | 840 | 30 | 120 | PHASE | WHITE | -
| R05 | EC | JSA | SERVERY & BREAKFAST (2" DOWNLIGHT) | PORTFOLIO #LDA2B108030 | ELCO |  | R4-ICAT-120-PH / JR4-1000-30-120-WH | 4 | RECESSED DOWNLIGHT | RECESSED | 12.5W | 1000 | 30 | 120 | PHASE | WHITE | -
| R06 | EC | JSA | ELEVATOR & DINING (4" WALL WASH) | HALO #LCR4121WW9FSE020 | ELCO WALL WASHER |  | R4-ICAT-120-PH / JR4-1000-30-120-WH-WW | 4 | RECESSED DOWNLIGHT | RECESSED | 18.0W | 1500 | 30 | 120 | PHASE | WHITE | -
| R10 | EC | JSA | FITNESS ROOM | HALO #ML4D08FL95FS1E | ELCO |  | R4-ICAT-120-PH / JR4-1500-30-120-WH | 4 | RECESSED DOWNLIGHT | RECESSED | 18.0W | 1500 | 30 | 120 | PHASE | WHITE | -
| R11 | EC | JSA | GUEST CORRIDORS | HALO #ML4D08FL95FS1E | ELCO |  | R4-ICAT-120-PH / JR4-1000-30-120-WH | 4 | RECESSED DOWNLIGHT | RECESSED | 12.5W | 1000 | 30 | 120 | PHASE | WHITE | -
| S20 | EC | JSA | PUBLIC RESTROOMS | HALO #RL56LS9FSD2W1EWH | ELCO |  | R4-ICAT-120-PH / JR4-1000-30-120-WH | 4 | RECESSED DOWNLIGHT | RECESSED | 12.5W | 1000 | 30 | 120 | PHASE | WHITE | -
| G04 | EC | JSA | TAPE LIGHT @ BREAKFAST ROOM COVE | 3.2W/FT, 390L, 27K | GM LIGHTING 120V RIBBON |  | TL-150L/FT-30-120 | FLEXIBLE RIBBON LIGHT |  | COVE | 2.0W/FT | 150L/FT | 30 | 120 | PHASE | - | -
TROFFER | T01 | EC | JSA | BACK OF HOUSE | FAIL-SAFE #FLR-WL-22-L3C3-40 | https://mynaturaled.com/naturaled/spec-flyer/PNL_cct3_7526_7527_9665_9666_9667_9668.pdf |  | T-2X2-2714-35-UNV-010 | 2X2 | LAY-IN TROFFER/LED PANEL | LAY-IN | 23.0W | 2714 | 35 | UNV | 0-10V | WHITE | -
| T02 | EC | JSA | FOOD PREP | FAIL-SAFE #FLR-WL-22-L3C3-40 | 2X2 LED FLAT PANEL NATURALED |  | T-2X2-3335-35-UNV-010 | 2X2 | LAY-IN TROFFER/LED PANEL | LAY-IN | 29.0W | 3335 | 35 | UNV | 0-10V | WHITE | -
BOH | S01 | EC | JSA | UTILITY, ELEC, MECH, STORAGE, BOH | FAIL-SAFE #4VRVT3-LD5-5-G-UNV-L835-CD1-WL | UWS_9538_9539_9540_9541.pdf (mynaturaled.com) |  | S-4-3510-40-UNV-010 | 4 | UTILITY WRAP | CEILING | 27.0W | 3510 | 40 | UNV | 0-10V | WHITE | -
| S02 | EC | JSA | STAIRWELL | CORELITE #SQW-F-75U/75U-840-1D-UNV-STD | USL_strip_9253_7593_7594.pdf (mynaturaled.com) |  | SW-4-5241-40-UNV-010-EM-SEN | 4 | STAIRWELL STRIP LIGHT | WALL | 38 | 5241 | 40 | UNV | 0-10V | WHITE | x | W/OCC SENSOR & BI-LEVEL DIMMING
| S04 | EC | JSA | POOL STORAGE | FAIL-SAFE #4VRVT3-LD5-4-G-UNV-L835-CD1-WL | VTL_vaportight_7678_7681_7448_7583.pdf (mynaturaled.com) |  | V-2-3238-40-UNV-010 | 2 | VAPOR TIGHT | SURFACE | 29.0W | 3238 | 40 | UNV | 0-10V | WHITE | -
| TR10 | EC | JSA | FRONT DESK, BREAKFAST, MARKET, DISPLAY | TR01/TR10 JUNO #R620L SERIES |  |  | TRK-5620 / K30-120-WH | TRACK LIGHT AND HEADS |  | TRACK | 15 | 1000 | 30 | 120 | PHASE | WHITE | -
| P4 | EC | JSA | ELEVATOR PIT | MEP CHOSEN>LITHONIA #ELA PAR36 | VTL_vaportight_7678_7681_7448_7583.pdf (mynaturaled.com) |  | V-4-3238-40-UNV-010 | 4 | VAPOR TIGHT | SURFACE | 29.0W | 3238 | 40 | UNV | 0-10V | WHITE | -
GUESTROOM LIGHTING
RECESSED | GR10 | EC | JSA | GUEST ENTRY (NO PROTO) | HALO #ML4D08FL95FS1E | ELCO |  | R4-ICAT-120-PH / JR4-1000-30-120-WH | 4 | RECESSED DOWNLIGHT | RECESSED | 12.5W | 1000 | 30 | 120 | PHASE | WHITE | - | GUESTROOM ENTRY
| S21 | EC | JSA | GUEST BATHROOM (NO PROTO) | HALO #RL56LS9FSD2W1EWH | ELCO |  | R4-ICAT-120-PH / JR4-770-30-120-WH | 4 | RECESSED DOWNLIGHT | RECESSED | 11.0W | 770 | 30 | 120 | PHASE | WHITE | - | GUEST BATHROOM
| GR-200 | OWNER | JSA | SIDE TABLE LAMP | ARKANSAS #GR-200 |  |  | GR-200-DYN | PLUG-IN TABLE LAMP |  | TABLE | 8.5 | 500 | 27 | 120 | PHASE | - | -
| GR-201 | OWNER | JSA | DESK LAMP | ARKANSAS #GR-201 |  |  | GR-201-DYN | PLUG-IN DESK LAMP |  | DESK | 10 | 600 | 27 | 120 | PHASE | - | -
| GR-202 | OWNER | JSA | NIGHTSTAND SCONCE | ARKANSAS #GR-202 |  |  | GR-202-DYN | PLUG-IN NIGHTSTAND SCONCE |  | TABLE | 10 | 600 | 27 | 120 | PHASE | - | -
| GR-203 | OWNER | JSA | GUEST BATHROOM VANITY LIGHT | ARKANSAS #GR-203 |  |  | GR-203-DYN | GUEST BATH VANITY LIGHT |  | WALL | 24 | 1200 | 30 | 120 | PHASE | - | -
DECORATIVE / OTHER | GR-204 | OWNER | JSA | SCONCE AT WALL HOOK | ARKANSAS #GR-204 |  |  | GR-204-DYN | SCONCE AT WALL HOOKS |  | WALL | 8.5 | 500 | 27 | 120 | PHASE | - | -
| GR-205 | OWNER | JSA | FLOOR LAMP | ARKANSAS #GR-205 |  |  | GR-205-DYN | PLUG-IN FLOOR LAMP |  | FLOOR | 10 | 600 | 27 | 120 | PHASE | - | -
| GR-206 | OWNER | JSA | TABLE LAMP @ ADA ROOMS | ARKANSAS #GR-206 |  |  | GR-206-DYN | PLUG-IN TABLE LAMP @ADA RM |  | TABLE | 10 | 600 | 27 | 120 | PHASE | - | -
| GR-207 | OWNER | JSA | NIGHTSTAND SCONCE @ QQ ROOMS | ARKANSAS #GR-207 |  |  | GR-207-DYN | PLUG-IN NIGHTSTAND SCONCE |  | WALL | 20 | 1200 | 27 | 120 | PHASE | - | -
PUBLIC AREA DECORATIVE LIGHTING
| PA-201 | OWNER | JSA | PENDANT LIGHT AT FOCUS BOOTH | ARKANSAS #PA-201 |  |  | PA-201-DYN | PENDANT LT AT FOCUS BOOTH |  | PENDANT | 11 | 900 | 30 | 120 | PHASE | - | -
| PA-202 | OWNER | JSA | PUBLIC BATHROOM VANITY LIGHT | ARKANSAS #PA-202 |  |  | PA-202-DYN | GUEST BATH VANITY LIGHT |  | WALL | 15 |  | 30 | 120 | PHASE | - | -
| PA-203 | OWNER | JSA | PUBLIC AREA TV LOUNGE | ARKANSAS #PA-203 |  |  | PA-203-DYN | PLUG-IN FLOOR LAMP |  | FLOOR | 10 | 700 | 27 | 120 | PHASE | -
| PA-204 | OWNER | JSA | CORRIDOR WALL SCONCE | ARKANSAS #PA-204 |  |  | PA-204-DYN | CORRIDOR WALL SCONCE |  | WALL | 22 | 1000 | 30 | 120 | PHASE | - | -
| PA-205 | OWNER | JSA | PUBLIC AREA RECEPTION | ARKANSAS #PA-205 |  |  | PA-205-DYN | 3-LIGHT PENDANT |  | PENDANT | 33 | 1250 | 30 | 120 | PHASE | - | -
| PA-206 | OWNER | JSA | PUBLIC AREA TV LOUNGE | ARKANSAS #PA-206 |  |  | PA-206-DYN | PLUG-IN TABLE LAMP |  | TABLE | 8.5 | 550 | 27 | 120 | PHASE | - | -
| TYPE | BY | MFR / VENDOR | LOCATION | PROTOTYPE MFR/MODEL # | JSA MFR/MODEL # | JSA SPEC CUTSHEET | JSA CATALOG # | DESCRIPTION |  | MOUNTING | WATTS | LUMENS | FACES | VOLTS | COLOR | FINISH | EM | NOTES
EXIT SIGNS & EMERGENCY LIGHTING
EXIT SIGN | X1 | EC | JSA | EXIT SIGN 1 FACE | COOPER #SCX SERIES | NORA |  | EX-G1-U-UNV-ALU | EMERGENCY EXIT SIGN |  | UNIVERSAL | 1 | - | 1 | UNV | GREEN | ALU | x | 90MINUTE EMERGENCY OPERATION
| X2 | EC | JSA | EXIT SIGN 2 FACE | COOPER #SCX SERIES | NORA |  | EX-G2-C-UNV-ALU | EMERGENCY EXIT SIGN |  | CEILING | 1 | - | 2 | UNV | GREEN | ALU | x | 90MINUTE EMERGENCY OPERATION
| X3 | EC | JSA | EXIT SIGN LOW LEVEL | COOPER #SCX SERIES | NORA |  | EX-G1-W-UNV-ALU | EMERGENCY EXIT SIGN |  | WALL | 1 | - | 1 | UNV | GREEN | ALU | x | 90MINUTE EMERGENCY OPERATION
EM LT | X4 | EC | JSA | EMERGENCY BUGEYE INDOOR | COOPER #AP2SQLED30 | led-emergency-light (elcolighting.com) |  | EM-W-UNV-WH | EMERGENCY BUGEYE LIGHT |  | WALL | 4.0W | 250 | - | UNV | - | WHITE | x | 90MINUTE EMERGENCY OPERATION
| X5 | EC | JSA | EMERGENCY BUGEYE WALLPACK, OUTDOOR | COOPER #AP2SQLED30 | owp-fc-104-led.pdf (iuseelite.com) |  | WP-UNV-BZ-EM | EMERGENCY WALLPACK |  | WALL | 5.0W | 500 | - | UNV | - | BRONZE | x | 90MINUTE EMERGENCY OPERATION OUTDOOR WET LOCATION RATED
LIGHTING CONTROLS
LIGHTING CONTROLS | LCP | EC | JSA |  |  | ACUITY ARP LCP |  | ARP INTENC16 NLT 16SPR MVOLT SC SM DTC | 16-RELAY LIGHTING CONTROL PANEL FOR OUTDOOR LIGHTING |  | WALL | - | - | - | 120 | - | - | - | WITH ASTRONOMICAL TIMECLOCK
| 1PS | EC | JSA |  |  | LUTRON VIVE |  | CA-1PS-WH | WALL SWITCH |  | WALL | - | - | - | UNV | - | - | -
| 5S | EC | JSA |  |  | LUTRON VIVE |  | MS-OPS5M-WH | WALL OCC SWITCH |  | WALL | - | - | - | UNV | - | - | -
| 8DS | EC | JSA |  |  | LUTRON VIVE |  | MRF2S-8SD010-WH | WALL DIMMER |  | WALL | - | - | - | UNV | - | - | -
| $k | EC | JSA |  |  | LUTRON VIVE |  | 1201-2L | TAMPER PROOF SWITCH |  | WALL | - | - | - | UNV | - | - | -
| P# | EC | JSA |  |  | LUTRON VIVE |  | PJ-PICO | REMOTE, SWITCH |  | WALL | - | - | - | - | - | - | -
| 16S | EC | JSA |  |  | LUTRON VIVE |  | RMJS-8TN-DV-B | POWER PACK, 20A RELAY |  | - | - | - | - | UNV | - | - | -
| 8TN | EC | JSA |  |  | LUTRON VIVE |  | RMJS-8TN-DV-B | POWER PACK, 0-10V |  | - | - | - | - | UNV | - | - | -
| PNE | EC | JSA |  |  | LUTRON VIVE |  | RMJS-PNE-DV | POWER PACK, PHASE |  | - | - | - | - | 120 | - | - | -
| R20 | EC | JSA |  |  | LUTRON VIVE |  | CAR20S-20-STR-WH | CONTROLLED RECEPTACLE |  | WALL | - | - | - | 120 | - | - | -
| OS | EC | JSA |  |  | LUTRON VIVE |  | LRF2-OCR2B-P-WH | CEILING OCC SENSOR |  | CEILING | - | - | - | - | - | - | -
| HOS | EC | JSA |  |  | LUTRON VIVE |  | LRF2-OHLB-P-WH | HALLWAY OCC SENSOR |  | WALL | - | - | - | - | - | - | -
| WOS | EC | JSA |  |  | LUTRON VIVE |  | LRF2-OWLB-P-WH | WALL OCC SENSOR |  | WALL | - | - | - | - | - | - | -
| COS | EC | JSA |  |  | LUTRON VIVE |  | LRF2-OKLB-P-WH | CORNER OCC SENSOR |  | WALL | - | - | - | - | - | - | -
| HUB | EC | JSA |  |  | LUTRON VIVE |  | HJS-1-M | LIGHTING CONTROL HUB |  | CEILING | - | - | - | 120 | - | - | -
NOTES: 1. LIGHTING CONTROLS SHOWN FOR DIAGRAMMATIC PURPOSES, JSA SHOP DRAWING SUBMITTAL SHALL BE PREPARED AND SUBMITTED FOR FINAL REVIEW BY DESIGN TEAM AND OWNER. 2. ALL LIGHT FIXTURES SHALL BE SUBMITTED FOR APPROVAL, ANY DEVIATIONS SHALL BE APPROVED IN WRITING BY ALL PARTIES PRIOR TO PURCHASING. 3. THE ELECTRICAL CONTRACTOR SHALL CONFIRM THE LOCATION, SPECS, AND QUANITITES OF ALL FIXTURES AND CONTROLS WITH DESIGN TEAM, OWNER, AND/OR PROTOTYPE DRAWINGS (IF ANY) PRIOR TO INSTALLATION. 4. ALL EMERGENCY LIGHTING SHALL MAINTAIN A MINIMUM 90 MINUTES OPERATION UPON POWER FAILURE.